Peterborough DAC

Drainage and French Drains

Guidance note

DAC policy

Getting water away from church buildings is one of the key elements in maintaining historic fabric.  This means gutters need to be cleared of vegetation and debris, down pipes need to be well maintained and drainage through the churchyard must be protected from blockage.

Many churchyards, after centuries of use, are now higher than the floor levels inside the church building, or slope in such a way that the natural run-off is towards, rather than away from, it.  This can cause a build up of damp in the walls leading to the failure of decoration (flaking plaster), infestation of woodwork and growth of algae – all of which look horrible and put the building at structural risk in the long term.

The DAC strongly encourages churchwardens to make regular inspections of the existing rainwater and drainage systems and to take note of problems identified in quinquennial inspection reports.  There are often drains that were dug in the 19th century that have fallen into disuse.  Wherever possible these should be located and reused.  However, in some cases the architect or surveyor will propose new drainage.  This guidance note is intended to help PCCs with such projects.

## Is new drainage necessary?

Sometimes no drainage is better than neglected drainage since blocked drains can concentrate water into localised spots rather than allowing it to distribute itself more evenly around the building.  If the external drains are blocked then the gallons of rainwater pouring from the roof will be focussed on specific areas at the foot of walls; the stonework will be unable to evaporate off the moisture from the interior of the building and it will start to deteriorate rapidly inside where the puddles are forming outside.

Equally, walls that are saturated through at high level are usually behind down-pipes that have split, hoppers acting as troughs for vegetation or gutters clogged by last autumn’s leaves.  Sorting out damp should start with a thorough consideration of the rainwater disposal system and the DAC will expect a thorough assessment of the existing system to be included with any proposal for new drainage work.

What about the ventilation?

If water accumulation is a major threat to the health of an historic building, lack of ventilation is another.  Most of the parish churches in this Diocese are of ancient construction and were made from materials that need to “breathe”.  The people who built our churches knew about rain and snow and designed buildings that were intended to cope with the weather.  They did not expect churches to be locked up or doors and windows to be sealed: the building would be open so fresh air could move around in it, helping to evaporate moisture away and keep the “climate” fresh.

Ensuring that opening windows can be opened – and that someone will be responsible for doing so – is vital for the health of church buildings.  The quinquennial inspection should identify lights that need attention to make them serviceable; this need not be very expensive but can make a great deal of difference in the long term.

Another option, especially in the drier months, is to install a “bird gate” so that the main doors can be kept open but there is a metal or wooden gate over the doorway to prevent birds flying in.  These could be temporary frames that slot into the doorway without fixing, or permanent gates (the latter require a faculty).  The benefits of this are enormous and the initial cost becomes a good investment – especially if, as in some cases, the gates are put on the outer opening of a porch and can provide year-round additional security.

We’ve done all we can to improve and maintain the existing drainage and ventilation.  What more can we do?

Where damp problems exist on the inside of an external wall – often resulting in decaying plaster inside and washing-away of mortar and stonework on the outside – the architect or surveyor may suggest provision of a French Drain and/or additional land drains to soak ways.

1. Soakaways

A soakaway is basically a big hole (usually 1 cubic metre), filled with rubble and coarse stone with a drainage pipe feeding into it.  The idea is that water is piped to the soakaway, at least 5m away from the building, and then seeps into the ground safely.  The hole itself can be covered with topsoil to restore the appearance of the churchyard.

Soakaways don’t function well in clay soils and to be effective the drain runs to them must have a fall that enables water to flow naturally towards the hole.  The soakaway itself and the drains must be well maintained.

2. Dry areas

A dry area is an open trench around a building, finished to provide an area where water can collect before evaporating away.  They might be constructed as a trench, filled with shingle, but without a land drain at the base, and concealed beneath turf.  Alternatively they can be lined with brick (often blue) or other hard materials.

Dry areas can fill with water and debris, exacerbating the damp problem rather than relieving it, and must be carefully planned and maintained.

3. French drains

A French drain is simply trench, dug to a gradient. A land drain pipe runs at the bottom and the trench is back-filled with shingle or coarse stone.  It may be lined with a geotexile membrane.  These drains can be used in open areas but in churchyards they are generally constructed immediately adjacent to the outside wall of the building.

French drains can help but are not a miracle cure for damp and are only of use if well maintained as part of a holistic approach to the building.  If not constructed well and properly maintained they will acerbate the problem, not relieve it.

This sounds simple – can the PCC do this itself?

The short answer is no.  An architect or surveyor must properly specify the work and a faculty  be obtained.

There are inherent dangers in the provision of new drainage in that it will always change the flow of water, not always in the way intended by the PCC.  There is also the risk that the ground may dry out rapidly and excessively and create new problems of settlement, replacing one problem with another.  The dry area or French Drain around the building will also take away some of the horizontal resistance to outward wall movement; if the wall is fragile this could result in bulging or worse.

The other big issue surrounding these drains is their relationship to the foundations of the building.  Most churches have extremely shallow foundations (if any) and many have been constructed on top of earlier buildings.  Excavating a trench around the perimeter wall can be structurally risky and archaeologically very sensitive.

#### Archaeology Advice

A PCC undertaking work in a church or churchyard is legally a “developer” and is required by law to be responsible for the costs of any archaeological work which may need to be done or observations which must be made before, during or after the works.  This is not an option for PCCs but an obligation in the same way that it would be for a commercial company developing land, laying services to an historic property or constructing a highway.

The DAC will offer the PCC clear advice, explanation of the situation and guidance on any given proposals.  It will advise on methods of minimising the archaeological impact of the PCC’s proposals and appropriate level of archaeological work needed.  It will also encourage the PCC to understand more about what it has inherited and share that information with the wider community in the most accessible way possible.

The specification for the work should explain exactly what excavation is proposed: the course and depth of the drain/soakaway, whether there are inspection chambers, how the trenches will be dug etc.  A clear plan showing the proposals in relation to the church, existing drains and all features of the churchyard will also be required.    The archaeology advisor will need to know what records there are of other structures or buildings in the churchyard, previous buildings and whether there are known vaults or burials in the areas to be affected by the work. This information will allow the DAC to assess the archaeological implications of the scheme

If the work is considered to have archaeological implications the DAC will provide, at no charge to the PCC, a “Brief” summarising exactly what work is required so that the PCC can put the archaeological work out to tender and be confident both that only the necessary work will be done and that the price for the job is reasonable.

The PCC may be required to do preliminary investigation to see whether there are existing, but lost, drains that could be used instead of new ones.  Another option may be to alter the proposed routes of drain runs to mitigate the level of impact.  Where the affected area is thought to be sensitive it may be necessary for an archaeologist to be employed to dig test pits.  In this situation, depending on the outcome of the test pitting, the DAC will provide further advice.  If the assessment of the churchyard and outcome of any test pitting has indicated that there are likely to be archaeological deposits and there is no alternative location it may be necessary to require that the trench or soakaway be excavated using archaeological techniques.  If no archaeological evidence has been found the DAC will attach a condition regarding archaeological observation to the DAC’s advice to the Chancellor and PCC.

The assessment and evaluation will have generated an archive (a report and possibly artefacts) that will need to be carefully stored and cared for.

Information that will be required for a Faculty application

- A justification for the new work; including an assessment of the condition of existing provision

- A plan of the church and churchyard, preferably to scale, showing the extent and location of the proposed work and any other structures of buildings attached to the church.

- A Statement of Significance; information may be available from the County Historic Environment Record and other sources.

- Information about known burials or vaults in the area/s to be affected and when the last interments took place in that location

- Photographs illustrating the situation (snapshots are enormously helpful)

- Details of the location and depth of the drains/soakaway

- Information about the method of excavation and a speciation for the work

- Details of whether the church architect or surveyor has been involved in the project

Wider consultation

- It is possible that the Local Authority, English Heritage or other bodies will need to be consulted about proposals.  If the DAC believes that this is the case the PCC will be advised early on in the consideration of the work.  The DAC will do its best to help the PCC to achieve good communication with whatever bodies have to be involved.  The consultation may only require correspondence but in some cases a site meeting will need to be convened.  Occasionally the DAC will not advise consultation at the outset but the Chancellor will require it when the faculty application is made, however such cases are very rare.

- If the church architect or surveyor has not drawn up the specification the DAC is likely to suggest that s/he should be consulted.  There may be technical aspects of the project as well as the issue of the work’s impact on the church that should be discussed with the architect or surveyor.  The PCC may find it helpful to do this at the outset rather than after the DAC has discussed the proposals.

## Related DAC guidance notes available from the DAC office on request

Pipe and cable runs

Further reading

French Drains; Institute of Historic Building Conservation technical paper

www.ihbc.org.uk/Technical%20Papers/French20%Drains.htn