Peterborough DAC

Installation of WC and Utility Facilities

Guidance note

# DAC policy

Many PCCs wish to install WC and Utility/Servery (“kitchen”) facilities in church buildings.  There is no statutory requirement to do this under either the Disability Discrimination Act 1995 or Health & Safety legislation.  However, any facilities that are provided must make all reasonable provision for full access and use by people with disabilities and fulfil the requirements of Health & Safety laws. A separate Guidance Note on the Disability Discrimination Act is available from the DAC office on request.

The DAC’s policy recognises the needs of mission and encourages the installation of facilities where it is reasonable to do so. However, the DAC also has a duty to seek to conserve the historic fabric, the settings both interior and exterior, and the character of our churches.

Every proposal is considered positively and the Committee offers advice to help PCCs.  It can also suggest visits to places where similar projects have been completed and share the experience of many other parishes with PCCs starting to think about providing these facilities.

### General principles

Generally speaking the Committee prefers facilities to be provided within the existing structure of the building rather than in an extension.  PCCs must be able to demonstrate that they have explored every possibility internally and explain what the pros and cons are before proposing that an extension or separate building is the only option.

In most cases the DAC will advise that:

- Partitions should be a sound-insulated framework, plastered or timber panelled rather than blockwork; they should not require foundations excavated into the church floor.

- Screens, cupboards and finishes should complement existing fabric of the building and be of a comparable quality.  It is expected that wood will be indigenous timber rather than imported varieties wherever possible.

- The standard of materials and quality of workmanship should equal or surpass that which is already in the building.

- WC doorways, wherever possible, should be designed in such a way that they do not open into the nave.  Ideally it should be possible to have the door open without anyone in the nave being able to see into the cubicle.

- It is not expected that sinks should be visible as such except when in use, even when they are concealed under the tower or behind a screen.

- Where utility areas are in aisles they can be built into well made woodwork, with a lid over the taps and draining board so that when not actually in use the installation appears as a handsome vestment chest or cupboard.  It is expected that the cupboards will be of cabinet-maker quality design and construction – not standard “kitchen” type units from high-street outlets. Both English Heritage and the Chancellor have objected to cupboards and sinks that are “too domestic”.  The Chancellor has stated that “ when cupboards and a sink are put into a church without any screening off of the area they should be made to look as little as possible like the parts of a domestic kitchen.  On the contrary they should look as much as possible like parts of the fabric of the church (e.g. like some oak panelling)”.

### However, these are only general principles and no advice would be offered without a site visit by DAC members to give the PCC the opportunity to discuss the project as a whole. Where appropriate the DAC would invite English Heritage, Local Authority and Amenity Society representative to attend.

Archaeological Advice

A PCC undertaking work in a church or churchyard is legally a “developer” and is required by law to be responsible for the costs of any archaeological work which may need to be done or observations which must be made before, during or after the works.  This is not an option for PCCs but an obligation in the same way that it would be for a commercial company developing land, laying services to an historic property or constructing a highway.

The DAC will offer the PCC clear advice, explanation of the situation and guidance on any given situation.  It will advise on methods of minimising the archaeological impact of the PCC’s proposals and appropriate level of archaeological work needed.  It will also encourage the PCC to understand more about what it has inherited and share that information with the wider community in the most accessible way possible.

If the facilities are provided within the church building the PCC will still have to take into account the possibility of disturbing archaeological deposits in providing the necessary services.  Cess pits and septic tanks, trench arching and pipes to mains sewage connections all require excavation in the church building and churchyard.   If the facilities are to be provided in new extension the archaeological implications of the work are massively increased.

Depending on the assessment of the potential impact of the proposals the DAC will advise the PCC whether it is likely to be required to fund a an archaeological investigation or employ an archaeologist to observe certain parts of the work.  If necessary the DAC will provide, at no charge to the PCC, a “Brief” summarising exactly what work is required so that the PCC can put the archaeological work out to tender and be confident both that only the necessary work will be done and that the price for the job is reasonable.

What the DAC seeks to help the PCC achieve

Sometimes the Committee may advise against the scheme as originally proposed by the PCC but usually a creative dialogue takes place that produces a practical solution and sustainable dignity in the place of worship:

- Facilities which serve the needs of the church and parish

- Minimal impact on the character of the building

- High quality workmanship and attention to detail

- The provision of water and foul drainage with minimised archaeological impact above and below ground

- A scheme that is within the PCC’s budget, phased to accommodate fund raising if necessary.

### Procedure

- The PCC’s first step is to draw up a Statement of Need explaining what the PCC wants to achieve, why it needs to provide these facilities now and what options it has considered to meet the perceived need.  This is a very important Statement because it provides those outside the PCC (such as the DAC and English Heritage) to understand the thinking behind the project.  Often the PCC has a range of options in terms of how the facilities can be provided and knowing exactly what the PCC wants and why helps the DAC to make positive and constructive suggestions.  Examples of Statements prepared by PCCs who have already achieved their aims are available from the DAC office.

- Even when the proposal is still just an outline sketch or bright idea the PCC should contact the DAC.  The importance of EARLY CONSULTATION cannot be over stressed.

- There are guidance notes dealing with different aspects of schemes to provide these facilities – they can be send out on paper or by email on request to the DAC office.

- The DAC Secretary is always happy to visit the PCC or arrange for a meeting at the DAC office with PCC members to explain how the system works, provide a list of previous schemes which the PCC might like to visit or answer questions.  This remains the case throughout the development of the project until the time when the PCC makes a faculty application to the Chancellor.

- Once the PCC has contacted the DAC office the DAC Secretary will either make a preliminary visit to the church to take photographs and get a broad outline of the possible proposals prior to a DAC meeting or arrange for DAC members to visit.

- The DAC may invite other interested parties to visit so that the PCC only has to explain the project once and does not have to arrange repeat meetings with EH, the LPA etc.

- After the visit (at which DAC members will not offer advice but try to learn more about the proposals) the Committee will discuss a report at its next meeting and then write to the PCC to offer its advice.

- The PCC then responds and the consultation process begins; this often takes some time and involves considerable exchange of ideas and possibilities.

- Once the specification and drawings for the project have been agreed and the DAC recommends the work for a faculty, the application and public notice forms are sent to the PCC and the formal faculty application can be made.

### Information that will be required for a Faculty application

- The PCC’s Statements of Significance and Need.  A separate Guidance Note on preparing these is available from the DAC office on request.

- The specification, drawings, illustrations, photographs of the area

- A plan of the church and churchyard showing existing arrangements and details of services.  Separate Guidance Notes on various aspects of the work are available from the DAC office on request.

- Information about wider consultation and written comments from English Heritage, Local Planning Authority (Planning permission and Building Regulations) where relevant.

The need for wider consultation

- The DAC has found that the best way to get all interested parties “on board” is to have a site meeting to which all are invited at the earliest stage in the project.  This means the PCC hears from all external bodies right at the outset and can incorporate advice into the development of the scheme.  This saves PCCs from the financial and pastoral embarrassment of getting a specification drawn up only to find that it is not acceptable to other bodies and that permissions cannot be obtained.

- It is highly likely that English Heritage and other bodies will need to be consulted about proposals.  If the DAC believes that this is the case the PCC will be advised early on in the consideration of the work.  The DAC will do its best to help the PCC to achieve good communication with whatever bodies have to be involved.

- If an extension is proposed the formal consent of the Local Authority must be obtained because Planning Permission will be required.

- The Local Authority Building Regulation Control Department should always be consulted at the outset to see whether any scheme would, in principle, be acceptable.  This can be particularly helpful in respect of disposal of foul water, drainage and access to ringing floors (when the facilities are to be installed in the tower).

- If the specification has not been drawn up by the church architect or surveyor the DAC is likely to suggest that s/he should be consulted about the proposals and technical aspects of the project as well as those which might have a visual impact on the church.  The PCC may find it helpful to do this at the outset rather than after the DAC has discussed the proposals.

## Related DAC guidance notes available from the DAC office on request

Cess pits and septic tanks

Extensions and new buildings

Floors: levelling, altering, covering

Pipe and cable runs

Standing fabric intrusions

Internal reordering; temporary and permanent

Statements of Significance and Need